[image: image1.emf] 

 

[image: image2.jpg]


[image: image3.png]~ ASYN

MIEEWDICAS







[image: image4.png]Fichier Edtion Affichage Document Outils Fenétre Aide x

B8 € 4 /1 00 -l H @ e -

otedere.. || B RE VSION. elo i & Microsot . '@ Document.. | | ¥ Adobe Ph




[image: image5.jpg]C€

0197




· Radiopaque sheath with hemastasis valve and sideport with attached 3 –way stopcock
· Radiopaque Vessel Dilator
· Smooth atraumatic sheath and dilatators transitions and 
a locking hub design make vessel entry quick and easy
INTRODUCER SHEATHS
Arterial
Sheat length:11cm
Product No.              French                    Length
                Guide Wire
         Qty.                  
    905801

   4F
                               9cm                               0,021"
                      100/Cs
                                 
     905803

    5F                                11cm

            0,038"

       100/Cs
     905805

    6F                                11cm                                0,038"

       100/Cs
     905807                          7F                                11cm                                0,038"

       100/Cs
     905809
    8F                               11cm                            0,038"

       100/Cs
     905813
    9F                
             11cm

             0,038"

       100/Cs
     905815                          10F                              11cm                                0,038"

       100/Cs
     905817
    11F                              11cm                            0,038"

       100/Cs
     905819
    12F                
              11cm

              0,038"

       100/Cs
Arterial

Sheat length:23cm
     905806
    6F                
             23cm

             0,038"

       100/Cs
     9058O8                          7F                                23cm                                0,038"

       100/Cs

     905810
    8F                                23cm                            0,038"

       100/Cs
     905819
    9F                
              23cm

             0,038"

       100/Cs
Venous
Sheat length




     
     905811

   8.5F

           11cm
                               0,038"

        100/Cs



�





�
















