
[image: image1.png]et ONNEN OBNEN OBEEN OB OB OB Q..

DIESEL"FORCE

‘-D“-".V







SAFE WORK PRACTICE

AIR CON GAS BOTTLE TRANSPORTATION

NOTE:  Only authorised licensed air conditioning persons to handle 134A Gas
PPE (Minimum – check SWP- PPE for correct protection)
Long hair secured

Long sleeves buttoned

Eye protection

No loose clothing
OPERATION 
· Check bottles to be in date. If out of date, return to supplier for change out.

· Bottles of 134A to be checked for leaks with detector before use. Cap to be fitted.
· Bottles being transported to be in designated crate assembly and to be tied down to vehicle.
· Upon return, check air con bottle and recovery bottle for leaks before being stored.
 HAZARDS
· Thermal burns due to cold gas

· Environmental damage

· Projectile in back of ute during transport
[image: image1.png]Approved by Manager/Supervisor:                                                 







Date:    /    /   2016
Dieselforce
6.17  Air Con Gas Bottle Transportation
      Revision: 2. 10th April 2014


