[image: image1.png]et ONNEN OBNEN OBEEN OB OB OB Q..

DIESEL"FORCE

‘-D“-".V





SAFE WORK PRACTICE

NITROGEN, Refrigerated Liquid

To be used by properly trained and qualified personnel only

Refer to MSDS before use

PPE (Minimum – check SWP- PPE for correct protection)

· Long hair secured

· Safety Footwear

· Leather Gloves in good condition
· Safety glasses or Chemical goggles
· Long sleeved shirts – buttoned

STORAGE
· To be stored in cool dry place, well ventilated, away from direct sunlight and heat sources.
· Cylinders to be secured in upright position while being transported or used.
· Limit quantity and separate and label empty and full containers

· Inspect cylinder periodically for damage or leaks


OPERATION
· Two persons required to move full containers or use sack trolley 

· Ensure adequate ventilation.
· Avoid spillage
· Cap bottles after each use.

HAZARDS
· Burns: Severe frost burn can occur from contact with skin: Flood with warm water.
· Eye Damage: Flood eyes with tap water or sterile saline solution for 15 minutes

· Asphyxiant
· Frayed material on clothing

· Damage or leaks
· Heavier than air, evacuate in case of large spillage

· May embrittle many materials on contact

[image: image1.png]

Approved by Manager/Supervisor:                                                 








Date:       /       /   2016
Dieselforce
6.40 Nitrogen, Refrigerated Liquid
Revision: 2. 15th Nov.2012

